## Slide 1: Reactive species stability in plasma-activated water generated by different atmospheric pressure plasmas
Ramin Mehrabifard, Akshara Chithran, Bernard Gitura Kimani, Zdenko Machala
Division of Environmental Physics, Faculty of Mathematics, Physics and Informatics, Comenius University, Mlynská dolina, 842 48 Bratislava, Slovakia
Ramin.mehrabifard@fmph.uniba.sk
Acknowledgment
This work was supported by the EU NextGenerationEU through the Recovery and Resilience Plan for Slovakia under the project No. 09I03-03-V03-00033 EnvAdwice, and Slovak Research and Development Agency APVV-22-0247.
Introduction: Because of their unique components, particularly reactive oxygen and nitrogen species (RONS), non-thermal plasma and plasma-activated water (PAW) are used in a wide range of applications. PAW is mostly used in food safety [1] and biomedical applications [2], agriculture and, surface treatment [3]. In this work, three distinct plasma setups—Transient Spark (TS) batch water treatment, Transient Spark-Electrospray (TS-ES), and Fountain Dielectric Barrier Discharge (FDBD)—are employed
Figure 1. Schematic diagram of the PAW production by (A) transient spark (TS) with UV-A/UV-C irradiation, (B) transient spark electro spray (TS-ES), (C) fountain dielectric barrier discharge (FDBD)
References
[1] Machala Z. et al. Plasma Process. Polym., 10, 649–659 (2013)
[2] Pavlovich M. J. et al. Plasma Process. Polym. 10, 1051–1060 (2013)
[3] Mehrabifard R. et al. “Combined Antimicrobial Properties of Ultraviolet Radiation and Plasma-Activated Water,” (2024), doi: 10.2139/SSRN.4961388.
Result
Plasma Set-ups
To generate PAW using both tap and deionized (DI) water. TS and TS-ES use DC high voltage and operate in pin-to-plane geometries. For each, the spark pulse frequency and gap distance are set at 1 kHz and 1 cm, respectively. For TS-ES, a flow rate of 0.5 ml/min was established, while batch TS treated 10 ml for 10 minutes. We utilized a neon-sign AC high voltage power source with 15 kV pk-to-pk and 20 kHz for FDBD, and we cycled 1 L of water for 20 minutes.